An introduction to Structured Cabling Systems

Computer and telephone systems typically share

a common structured cabling system. The star

typology of copper cable based unshielded

twisted pair (UTP) wiring systems provides for

numerous outlets located around an office and

each outlet has a cable that runs back to a

central computer room or equipment room where

they are terminated in a patch panel usually

contained in a cabinet. Short ‘patch cables’ and

fly leads are then used to connect particular

outlets to active computer devices such as an

Ethernet Switch or to a telephone system and

the device on the staff members desk.

Presently there are two common standards of

UTP cabling systems that are installed into

buildings, Category 5e and Category 6. As cabling

systems have a long life and are a fundamental

foundation to any ICT infrastructure it is

important that a competent and qualified supplier

installs the right system. Fusion’s Network

Sciences installations are provided with test

certifications for each outlet to prove conformity

to standards and the whole installation is

provided with a performance guarantee of 15 or

25 years depending on the system installed.

Category 5e

This standard based on a 100Mhz bandwidth is a

development of Category 5 to give the standard

sufficient headroom to support 1,000Mb/s

(1 Gigabit) data speeds on Ethernet. It is a cost

effective system to install completely compatible

with Ethernet, telephony and many other data

standards. Primarily it is installed where a low

cost installation is required whilst providing

support for the highest currently available data

transmission rates.

Category 6

This standard was finally ratified in June

2002 provides for even higher headroom as a

consequence of its 250Mhz bandwidth to support

the anticipated future network standards as well

as supporting those already available today. As

such it is the system of choice for installing into

new buildings or in refurbishments where there is

a long term view and a maximum return on

investment is required. The 25 year performance

guarantee backs up this long term view.

Category 5e and Category6 systems use the

same RJ45 plug and jack format to retain

compatibility between equipment of different

standards.

Category 6A – 10 Gig

HT Data’s Deca10 solution provides 10GB data

rates over copper and fibre cables and is ideal

for computer room and data centre applications

where high data rates are required. The copper

cables used in 10GB solutions differ from the

slower standards in that a foil shield is included

and this introduces particular requirements in

termination. A standard RJ45 plug form factor

has been retained. HT Data’s Deca10 solution

has been independently certified by Delta test

labs to meet or exceed all link and channel

requirements of the TIA Category 6A standard,

ANSI/TIA/EIA-568-B. 2-10, and the more

demanding ISO/IEC Class EA standard, ISO/IEC

11801:2002.

Fibre Optic Cabling

The limitation of copper cabling in Category 5e

and Category 6 systems is that the overall length

between device on a staff members desk and

the equipment that it is attached to in a

computer room is 100 metres. Whilst in many

small to medium sized offices this can be easily

accommodated it does provide an issue in multi

floor offices or very large floor plan offices.

Fibre optic provides two key factors to

overcoming this limitation. Firstly and perhaps

most significantly the line length of fibre optic

cabling is determined only by the type of cable

used and the transmission equipment used at

each end. This can range from tens of metres to

thousands of kilometres as used in inter

continental links.

Secondly fibre optic supports very high data

transmission rates enabling high speed, high

capacity backbone links to be established. A

further benefit is that as there is no electrical

conduction over fibre optic cable networks are

segregated electrically.

In a large, multi floor building it would be typical

to provide copper cabling from each outlet to a

data cabinet to server the entire floor. Each floor

would be separately linked backed to a main

computer room either by fibre optic or possibly

copper cabling if distances permit.

Traditionally fibre optic is harder to work with

and costs more to install than copper cables so

it’s use is carefully considered when designing an

infrastructure however modular pre-terminated

and high density solutions are over coming these

issues.